[image: image1.png]


GWINNETT COUNTY

STORM WATER MANAGEMENT

REVIEW CHECKLIST - EXEMPTION PLAT

DEVELOPMENT NAME:
     
 

DISTRICT/LANDLOT/PARCEL:

ENGINEER:


     



 



FAX NUMBER/EMAIL:

     





REVIEWER:


     







DATE:



     








COUNTY CASE  #:
     




FYI:  IT IS THE OWNERS/DEVELOPER’S RESPONSIBILITY TO BE IN COMPLIANCE WITH APPLICABLE NATIONAL POLLUTION DISCHARGE ELIMINATION SYSTEM (NPDES) PERMIT AND CLEAN WATER ACT REQUIREMENTS.

   FORMDROPDOWN 
 FORMDROPDOWN 
    FORMCHECKBOX 
     Walk Through 

   FORMDROPDOWN 
 FORMDROPDOWN 
    FORMCHECKBOX 
   Drop-Off, include a copy of these comments and one set of plans, do not drop off money or easement documents.         Bring to Suite 275- 2nd floor One Justice any day of the week.  Allow up to 5 business days for re-review.

   FORMDROPDOWN 
 FORMDROPDOWN 
    FORMCHECKBOX 
  Section Re-Review, include a copy of these comments and one set of plans, do not drop off money or easement documents. Bring to Suite 275- 2nd floor One Justice any day of the week.  Allow up to 10 business days for re-review.

FYI if all comments are not addressed after the third review, a meeting will be required with County Staff, Designer and Owner/Developer.                                                                                                                                                                                                                                               

GENERAL COMMENTS:
1)  FORMDROPDOWN 
  FORMCHECKBOX 

Provide note regarding proposed pipe      .       
2)  FORMDROPDOWN 
  FORMCHECKBOX 

Residential Drainage Plan (RDP) required on the following lots:      FORMTEXT 

     
.  (DR 9.2.1b) 
3)  FORMDROPDOWN 
  FORMCHECKBOX 

Residential Drainage Plan  with an elevation certificate (RDP-E) required on the following lots:     . 


(DR 9.2.1b)      
4)  FORMDROPDOWN 
  FORMCHECKBOX 

Residential Drainage Study (RDS) required on the following lots:     .  (DR 9.2.1b)      
5)  FORMDROPDOWN 
  FORMCHECKBOX 

Residential Drainage Study with an elevation certificate (RDS-E) required on the following lots:     .  (DR 9.2.1b)      
6)  FORMDROPDOWN 
  FORMCHECKBOX 

Provide storm water note(s) indicated below in a notes section.         
1.  FORMDROPDOWN 
  FORMCHECKBOX 
 Select appropriate Floodplain Note(s). Either select note a or b and select notes c and d as applicable.

a. There is no floodplain on this property from a water course with a drainage area exceeding 100 acres.

b. Floodplain on this property from all water courses with a drainage area exceeding 100 acres is shown.

c. Floodplain shown is from FIRM panel _______ dated ________.

d. Floodplain shown is from Floodplain study titled ____________ by _______________ dated _______.  Study was done as a part of project number XXX xxxx-xxxxx.       
2.  FORMDROPDOWN 
  FORMCHECKBOX 
 Select appropriate wetlands note(s).  Select either a or b.

a. There are no wetlands on this site.

b. All wetlands are delineated on this site.       
3.  FORMDROPDOWN 
  FORMCHECKBOX 
  FORMDROPDOWN 
  FORMCHECKBOX 
 Select appropriate state waters note(s).  Select either a or b.
a. There are no state waters buffers on this site.

b. A 50-foot undisturbed buffer shall be maintained adjacent to all streams.     
4.  FORMDROPDOWN 
  FORMCHECKBOX 
 An approved Residential Drainage Plan (RDP) is required prior to issuance of a building permit on those lots labeled "RDP".  An approved Hold and Release Affidavit is required on those lots labeled “RDP” or Residential Drainage Study  (RDS).  An elevation certificate is required on lots labeled “RDP-E” or “RDS-E”.       
7)  FORMDROPDOWN 
  FORMCHECKBOX 

Provide flood study       .       
8)  FORMDROPDOWN 
  FORMCHECKBOX 

Show 100-year floodplain limits with 100-year flood elevation .       
9)  FORMDROPDOWN 
  FORMCHECKBOX 

Show drainage easements      .       
10)  FORMDROPDOWN 
  FORMCHECKBOX 

If within flowage easement of NRCS dam, show flowage easement.      
11)  FORMDROPDOWN 
  FORMCHECKBOX 

Show 50-foot undisturbed buffer adjacent to state waters.  (ESCO 5.3.3h)      
12)  FORMDROPDOWN 
  FORMCHECKBOX 

For projects in Big Haynes Creek watershed inside the 7 mile radius to Black Shoals Reservoir, on perennial streams shown on the USGS quad maps, show a minimum 100 foot buffer and 150 foot no-impervious surface setback.  (Zoning Resolution 1314.2)       
13)  FORMDROPDOWN 
  FORMCHECKBOX 

For Alcovy River watershed and Big Haynes Creek watershed outside the 7 mile radius to Black Shoals Reservoir, on perennial streams shown on the USGS quad maps, show a minimum stream buffer of 50 feet and a no-impervious surface setback of 75 feet.  (Zoning Resolution 1314.2)       
14)  FORMDROPDOWN 
  FORMCHECKBOX 

Chattahoochee River has a 50-foot undisturbed buffer and perennial streams tributary to the Chattahoochee River  inside 2000-foot River Corridor shown on the USGS quad maps have a 35-foot undisturbed buffer.  Perennial streams tributary to the Chattahoochee River outside the 2000-foot River Corridor shown on the USGS quad maps have a 15-foot no-encroachment buffer and a 35-foot impervious surface setback from the banks of the stream.  No variance is allowed.       
15)  FORMDROPDOWN 
  FORMCHECKBOX 

Show dam breach zone for dams 9 feet or more in height in combination with an impounding capacity of 20 acre-feet or more at maximum water storage elevation or provide documentation that dam meets Safe Dam Criteria.       
OTHER COMMENTS:

16)  FORMDROPDOWN 
  FORMCHECKBOX 

     
17)  FORMDROPDOWN 
  FORMCHECKBOX 

     
18)  FORMDROPDOWN 
  FORMCHECKBOX 

     
19)  FORMDROPDOWN 
  FORMCHECKBOX 

     
20)  FORMDROPDOWN 
  FORMCHECKBOX 

     
21)  FORMDROPDOWN 
  FORMCHECKBOX 

     
22)  FORMDROPDOWN 
  FORMCHECKBOX 

     
23)  FORMDROPDOWN 
  FORMCHECKBOX 

     
GWINNETT COUNTY SWM – REVIEW CHECKLIST – EXEMPTION PLAT
Page 1 of 2
Rev 0501 – April 18, 2005.

